  - MAGNETIC LOCKS AND GATE LOCKS

    - Electromagnetic Mortise Lock:

      - Product: Model 1591U - Single EMLock for sliding doors in stainless steel finish as manufactured by SDC.

        - Holding Power: 850 lb (386 Kg).

        - Electrical Data: .40 AMP at 24VDC,  .80 AMP at 12VDC.

** NOTE TO SPECIFIER **  Delete power source requirements not required.

** NOTE TO SPECIFIER **  Delete accessories not required.

      - Accessory: LAB - Surface mount armature angle bracket for 1591 on sliding doors.

      - Accessory: AMP - Armature mounting plate for leading edge of door

      - Accessory: DPS - Door position sensor for 1591 EMLock.