  - MAGNETIC LOCKS AND GATE LOCKS

    - Electromagnetic Narrow Line EMLock – Low profile Single and Double EMLocks

      - Product 350V – Single EMLock as manufactured by Security Door Controls

        - Holding Force: 1200lbs

        - Electrical Data: 300mA/540mA @ 24VDC/12VDC

        - Bond sensor and Door sensor – Standard

        - 12-1/2”Lx2-1/8”Hx1-11/16”D

      - Product 352V – Double EMLock as manufactured by Security Door Controls

        - Holding Force: 1200lbs per door leaf

        - Electrical Data: 600mA/1080mA @ 24VDC/12VDC

        - Bond sensor and Door sensor standard

        - 25”Lx 2-1/8”H x 1-11/16”D