  - EXIT SWITCHES

      - 440 Series - 2-5/8 inches (67 mm) Red Mushroom Button. (Green optional)

        - Contact: 6 Amp at 30 VDC.

        - Wire Connection: Screw Terminals.

        - 441 thru 444 – Double gang box mounting

        - 446 – Single gang box mounting

** NOTE TO SPECIFIER **  Available Model for function indicated. Delete model function not required.

        - Product: Model 441 - AA (On/Off) DPST. (No Sign).

        - Product: Model 442 - Momentary DPST. (EXIT).

        - Product: Model 443 - Momentary with Timer Module, Adjustable 1-60 seconds 12/24V AC/DC, SPDT 2A contact. (EXIT).

        - Product: Model 444 - Momentary 2-DPST. (EXIT).

        - Product: Model 446 - Momentary DPST. (EXIT).

** NOTE TO SPECIFIER **  Finishes for all series switches. Finish: U standard. Delete finishes not required.

      - Finish: U - Stainless Steel.

      - Finish: C - 605 Bright Brass.

      - Finish: D - 606 Dull Brass.

      - Finish: H - 613 Oil Rubbed Bronze.

      - Finish: P - 625 Bright Chrome.

** NOTE TO SPECIFIER **  Options for all series switches. L1G, L1R, L2, LT select only one.

      - Accessory: L1G - 1 Green LED.

      - Accessory: LT - Tri-color LED - Red, Green, Amber.

      - Accessory: L1R - 1 Red LED.

      - Accessory: L2 - 1 Red, 1 Green LED.

      - Accessory: E - Add Exit Sign to AA Function Switch.

      - Accessory: G - Green Push Button.

        - Accessory: R - Red Push Button.