  - EXIT SWITCHES

    - Vandal Resistant Exit Switches:

** NOTE TO SPECIFIER **  The SDC 450 Series incorporates a 1/4 inch thick aluminum faceplate and an all stainless steel button. The assembly will resist the impact of a hammer blow. In addition, security spanner mounting screws are concealed by tamper resistant aluminum plugs to inhibit tampering.

      - 450 Series - Plate: 1/4 inch (6 mm) thick Aluminum - security screws.

        - Button: Round Dull Stainless Steel button, 1/2 inch (13 mm).

        - Contact: 6 Amp at 30 VDC.

        - Wire Connections: 451/452 -  6 inches (152 mm) leads, 20 gauge. 453 - Screw terminals.

        - 450 Series – Single gang box mounting

        - 450N Series – Narrow mullion mounting

** NOTE TO SPECIFIER **  Pneumatic Time Delay: The 453PTD includes a 1 to 180 second pneumatic timer for delayed re-locking. Where preferred, the 10TD Electronic Mini Timer may be specified for use with the standard 452 model. Delete model not required.

        - Product: 451/451N - AA (On/Off) SPDT. (No Sign).

        - Product: 452/452N - Momentary SPDT. (No Sign).

        - Product: 453P/452PN - Integrated Pneumatic Timer Adjustable 1-180 second. DPST contact. (No Sign).