  - EXIT SWITCHES

    - IR Sensor Touchless Exit Switch. Product as manufactured by SDC Security Door Controls.

** NOTE TO SPECIFIER **  Delete model not required.

      - Product: Model 474U- Single Gang, 630 stainless steel.

      - Product: Model 474DU – Double Gang, 630 stainless steel.

      - Input Voltage: 12/24 VDC.

      - Current: Idle 30mA @12vdc, 15mA @24vdc. Active – 70mA @12vdc, 35ma@24vdc.

      - Outputs:DPDT @ 3 Amps Resistive

      - Switch Operating Environment: -4 degree F to +131 degree