  - EXIT DEVICE SWITCH

    - Product: 500 Series Exit Device REX Switch as manufactured by SDC Security Door Controls.

      - Switch shall be field installed in the inactive hinge pad of an exit device to provide instantaneous release of magnetic locks for egress. Device shall include a SPDT Switch Assembly with wire leads. 5 Amp @ 30VDC.