    - Emergency Access Panel:

      - Product as manufactured by SDC Security Door Controls.

      - Product: Model APB1000A - Emergency access panel for lobby door system. Mushroom button with key reset and siren.

    - Wall Mount 400 Series LED Plate:

      - Finish:U -  630 Stainless Steel.

      - Product as manufactured by SDC Security Door Controls.

** NOTE TO SPECIFIER **  Delete model not required.

      - Product: Model 400U-L2 - Two LEDs. Red & Green

      - Product: Model 400U-L3 - Three LEDs. Red, Green & Amber

      - Product: Model 400U-LT1 - One tricolor LED. Red, Green and Amber.

      - Product: Model 400U-LT2 - Two tricolor LED. Red, Green and Amber.

** NOTE TO SPECIFIER **  EmLock® or Electrified Lockset Application. Delete model not required.

    - Communicating Bathroom Controls:

      - Product as manufactured by SDC Security Door Controls.Model EmLock Application

      - Product: Model CB401-B Emergency access switch, red. 2 Required.

      - Product CB401-A Communicating Bath switch, U 630 Stainless Steel finish

      - Product: Model CB701 Emergency key switch, red.Model Electrified Lockset Application.

      - Product: Model CB402-A Communicating bath switch, U 630 Stainless Steel finish.

      - Product: Model CB402-B Emergency access switch, red. 2 Required.

      - Product: Model CB702 Emergency key switch, red.

    - Under Desk Switch:

** NOTE TO SPECIFIER **  Delete model not required.

      - Product: Model 15-1 AA, SPDT push switch, 6 Amp @ 30VAC/DC as manufactured by SDC Security Door Controls.

      - Product: Model 15-2 MO, SPDT push switch, 10 Amp @ 30VAC/DC as manufactured by SDC Security Door Controls.

      - Product: Model 15-3 AA, SPDT toggle switch, 6 Amp @ 30VAC/DC as manufactured by SDC Security Door Controls.

      - Product: Model 15-2-3 (1) MO push switch and (1) AA (on/off) toggle SPDT, 6 Amp @ 30VAC/DC as manufactured by SDC Security Door Controls.

    - Time Delay Relay:

      - Product: Model 10TD - Time delay relay module with adjustable 1-60 second relock delay as manufactured by SDC Security Door Controls.

      - Input: 12/24V AC/DC, Output: SPDT, dry contact.

      - Voltage: 2 Amps @ 30 VDC (resistive).

      - Size: 2-1/4"x 1-1/2" x 3/4"

    - Timers:

      - Product: Model 14-2 - 7 day programmable timer with memory battery back-up capability as manufactured by SDC Security Door Controls.

      - Output: 1 SPDT, dry contact.

      - Voltage: 16 Amps @ 30 VAC/DC. Specify input voltage - 12V AC/DC or 24 AC/DC.

    - Passive Infrared Egress Control:

** NOTE TO SPECIFIER **  Delete model not required.

      - Product: Model MD-31D-W - Motion detector with time delay, white as manufactured by SDC Security Door Controls.

      - Product: Model MD-31D-B - Motion detector with time delay , black as manufactured by SDC Security Door Controls.

    - Door Position Sensors:

** NOTE TO SPECIFIER **  Delete model not required.

      - Product: Model DPS-11 - Adjustable ball type SPDT 5 Amp.

      - Product: Model DPS-11-2 - Adjustable ball type 2 SPDT 5 Amp.

      - Product: Model MC-4 - Recessed magnetic (3/4 inch (19 mm), SPDT, 30VDC, 50mA).

      - Product: Model MC-4M - Recessed magnetic mounted on 1-1/4 inches by 4-7/8 inches (32 mm by 124 mm) plate.

      - Product: Model MC-7 - Biased high security recessed magnetic (1 inch (25 mm), SPDT, 30VDC, 50mA).

    - Latch and Deadbolts Monitoring Strike:

      - Provide latch and or deadbolt position status. Compatible with deadbolts, cylindrical locks, mortise locks, and mortise locks with latch and deadbolt as manufactured by SDC Security Door Controls. Strike plates not included. 5 Amp @ 30 VAC/DC.

** NOTE TO SPECIFIER **  Delete model not required.

      - Product: Model MS-12 - Cylindrical latch monitor 2-3/4 inches (70 mm) SPDT.

      - Product: Model MS-12D - Cylindrical latch monitor 2-3/4 inches (70 mm) DPDT.

      - Product: Model MS-14 - Cylindrical latch monitor 4-7/8 inches (124 mm) SPDT.

      - Product: Model MS-14D - Cylindrical latch monitor 4-7/8 inches (124 mm) DPDT.

      - Product: Model MS-16 - Mortise lock latch monitor SPDT.

      - Product: Model MS-16D - Mortise lock latch monitor DPDT.

      - Product: Model MS-18 - Mortise lock deadbolt monitor SPDT.

      - Product: Model MS-18D - Mortise lock deadbolt monitor DPDT.

      - Product: Model MS-20 - Mortise lock latch and deadbolt monitor SPDT. Handed but reversible.

      - Product: Model MS-20D - Mortise lock latch and deadbolt monitor DPDT. Handed but reversible.