  - DELAYED EGRESS LOCKS

    - Local Reset and Bypass:

      - Faceplate: 20 gauge stainless steel.

      - Key Switch: 6 Amp at 30 VDC maximum.

      - Push Switch: 5 Amp at 30 VDC maximum.

      - All reset controls shall be located adjacent to the door. (Key cylinder not included).

** NOTE TO SPECIFIER **   Delete model not required.

      - Product: Reset/Bypass Model 708R - On/Off Bypass and Reset Key Switch as manufactured by SDC Security Door Controls:

        - Left - SPDT, maintained contact for bypass (on/off).

        - Right - SPDT, momentary contact for lock/alarm reset.

      - Product: Reset/Bypass Model 707R - Momentary Bypass and Reset Key Switch as manufactured by SDC Security Door Controls:

        - Left - SPDT, momentary contact for bypass (on/off).

        - Right - SPDT, momentary for bypass (on/off).

      - Product: Reset/Bypass Model 702R - Lock/Alarm Reset Key Switch as manufactured by SDC Security Door Controls:

        - SPDT, momentary contact for lock/alarm reset.

      - Product: Reset/Bypass Model 918 - Keyless Keypad Reset and Bypass or Momentary Authorized Access 500 User Codes.

      - Product: Reset/Bypass Model 920 - Keyless Keypad Reset and Bypass or Momentary Authorized Access  500 User Codes.