  - CONTROL CONSOLES

    - Mini Desktop Consoles:

** NOTE TO SPECIFIER **  Delete model not required.

      - Product: Model DTMO-1 - One momentary switch and one LED as manufactured by SDC Security Door Controls.

      - Product: Model DTMO-2 - Two momentary switches and two LED's as manufactured by SDC Security Door Controls.

      - Product: Model DTMOMA-2 - One momentary, one maintained switch and two LED's as manufactured by SDC Security Door Controls.

      - Product: Model DTMA-2 - Two maintained switches and two LED's as manufactured by SDC Security Door Controls.

      - Dimensions: 4.125 inches W by 3.125 inches H by 6.25 inches L.

      - Contact Rating: 5 Amp at 30 VDC maximum.

      - Input Power: 24 VDC at 0.02 Amp required for each LED.

      - Color: Beige.