    - Product EH Series Magnetic Door Holders

      - Product as manufactured by SDC Security Door Controls

      - SDC EH Series magnetic door holders, are designed to hold doors open and release the door by remote switch or fire life safety command center activation.

      - Materials:  Zinc alloy

Voltage:  Standard dual voltage AC or DC inputs of 12&24V, 24&120V, 24&220V models

Holding Force:  Typical holding force of 25-40 pounds; field selectable high holding force.

      - Specify model:

- EH10 – Flush mount

- EH20 – Semi-flush mount

- EH30 – Surface mount

- EH40 – Floor mount

- EH42 – Floor mount, double

      - Specify voltage:

- 1224 – 12/24 VAC/VDC

- 24120 – 24 VAC/VDC/120VAC

- 24220 – 24 VAC/VDC/220VAC

      - Specify finish

- A – Chrome Powder coat

- P – 625 Chrome plated

- C – 605 Brass plated