      - PTM-2AL – Heavy duty power transfer device. Two 18AWG wires. 5amp @ 12/24VDC/AC. Aluminum powder coat.

      - PTM-2BZ – Heavy duty power transfer device. Two 18AWG wires. 5amp @ 12/24VDC/AC. Dark brown powder coat.

      - PTM-10AL – Heavy duty power transfer device. Ten 24AWG wires. 1amp @ 12/24VDC/AC. Aluminum powder coat.

      - PTM-10BZ – Heavy duty power transfer device. Ten 24AWG wires. 1amp @ 12/24VDC/AC. Dark brown powder coat