  - POWER SUPPLIES AND DOOR CONTROL MODULES

    - Door Control Modules:

Modules with or without power supplies as scheduled or required.

      - Product as manufactured by SDC Security Door Controls.

** NOTE TO SPECIFIER **   Delete model not required.

      - Product: UR-1 – Single Universal Relay module field selectable for: CR, or 2CR, or TD (1-60 sec), or 2TD, or LR, or 2LR, or Interlock A or sequencer. Inputs – 2 Form A SPST NO. Outputs  - 2 form C SPDT 5 amp @ 12/24vdc.